…………………… Dental Practice

Fire Action Policy and Protocol

……… [Name] Dental Practice expects everyone to take reasonable care to ensure their own safety and that of other people who might be affected by their acts or omissions at work. Employees are also required, by law, to attend any health and safety training that is provided for them. This policy applies to all employees of the practice, dental associates, dental hygienists and other contractors providing services to the dental practice, collectively referred to throughout the policy as ‘staff’.

……… [Name] is responsible for fire safety within the Practice. To minimise the risk of fire a fire risk assessment is carried out. Training is provided to all staff regarding what to do in the event of a fire (see below for procedure) and a fire drill is conducted ……… [Timescale e.g. every 6 months] with a record kept. The fire alarm and smoke alarms are checked weekly by ……… [Name] at ……… [Time] on ……… [Day] and a notice of this is displayed ………. [Location]. Fire doors are signposted, kept free of obstruction and kept closed. Fire extinguishers are present ………. [insert locations], instructions on how to use them are displayed, and extinguishers are inspected annually by ……… [Name].

Procedure to follow in the event of fire or sounding of a fire alarm or smoke detector

Immediate Action

- Anyone discovering a fire must immediately:-

Sound the alarm;

Evacuate patients and staff from the area;

Shut the door to enclose the fire;

Pick up the appointment list.

- Evacuation of all present will begin.

- Assess whether local measures will extinguish the fire.

Only tackle a fire if it poses no threat to your personal safety

If not, dial 999, ask for the fire brigade, give address.

Further Action

- All personnel will gather ………………………………………..

- A roll call will be taken (appointment list).

Escape Routes

- These are identified as ……………………….. shown by signs.

Fire Doors are identified as …………………...

- These must not be locked.

The correct Fire Fighting Equipment is a water extinguisher for paper and wood based materials and it is stored ………………, and a powder extinguisher for electrical equipment which is stored ……………….  This equipment is regularly maintained and serviced by ………………………...

A system should be in place identifying the number of persons on the premises at any one time.

The Assembly Point is ……………………………………….

Policy Last updated:	_______________   		Date of next review:	_______________

[Name and/or designation of responsible person]	Signature:		_______________

The following staff have read and understood this policy [include all team members].

| Dental Team Member | Position | Signature | Date |
| --- | --- | --- | --- |