# Fire Safety Risk Assessment

The five stages of a fire safety risk assessment are:

- Identify the location of people (staff, patients and visitors) at risk in the event of fire.

- Identify fire hazards, i.e. the three elements required for fire to start:

- Sources of ignition (cooking, smoking, lighting equipment, electrical equipment)

- Sources of fuel (flammable gases, liquids or solids)

- Sources of oxygen (forms of air conditioning/ventilation; draughts as well as oxygen present in the air)

- Evaluate the risk and decide if existing fire safety measures are adequate by:

- Evaluating the likelihood of a fire occurring and the consequence to those at risk

- Assessing the adequacy of existing fire safety measures and the need for additional measures

- Minimising risks by:

  - removing or reducing fire hazards

  - removing or reducing risks to people by use of (where appropriate): fire detection and warning equipment (e.g. smoke detectors and fire alarm); fire-fighting equipment; escape routes and lighting; signs or notices; regular maintenance and testing of fire precautions and equipment

  - effective Fire Risk Management

  - providing fire safety training of staff

- Record findings and action taken, or to be taken.

- Keep assessment under regular review.

The Scottish Fire and Rescue Service, available at:  http://www.scotland.gov.uk/Topics/Justice/public-safety/Fire-Rescue

provides information about fire law and safety in Scotland including guidance notes and blank fire safety risk assessment record sheets drawn up in partnership with the Scottish Centre for Healthy Working Lives which you can use to conduct and record a fire safety risk assessment.

A form for a Fire Risk Assessment which can be completed online and printed is available at:

http://www.healthscotland.com/uploads/documents/19793-Fire_Risk_Form_Short.pdf