
**2F 12 Appropriate Diagnostic Reference Levels (DRLs) in place**

DRLs for digital and film based radiology will differ

Example of DRLs and guidance from the CDO is in separate attachment 2F 12i 

If you are in any doubt regarding patient dose settings you should conduct your RPA